General Air Products’ Fire Protection Air Compressor

Individual Model Specification Sheet

OL Plus Series: High Pressure, Riser Mounted, Oil Less

Air Compressors

Model Number: OL915150BC-HP

Specifications:

- Compressor shall conform to NFPA 13 standards and have a capacity for restoring normal air pressure in the sprinkler system within 30 minutes.

- Riser Mounting Oil Less Unit

- Three Phase Power (indicated by “B” in model number; “A” for single phase)

- UL Listed Pressure Switch

- Bubble Tight Air Check Valve

- Oil Less Piston Type Compressor

- Universal Riser Mounting Kit

- 30” Stainless Steel Flex Hose

- General Air Products Inc. model OL915150BC-HP or equivalent